## Test Information
Analytical Validity, Clinical Validation Summary Worksheet, NGS Solid Tumors (NGS-PF-004-v7)
Instructions: Complete as thoroughly as possible and add appropriate detail. Write 'N/A' where applicable. Expand columns/add rows and worksheets if necessary. List all samples (reference AND clinical) used in the validation on the AV & CV Summary tab.
NOTE: You must complete all summary worksheets in order for your technical assessment submission to be complete.
This attestation confirms that the test validation was performed in the CLIA laboratory associated with the registered Z-Code and that the information herein is accurate to the best of my knowledge. The laboratory and/or medical director has reviewed and approved the content of this submission.
CLIA Laboratory and/or Medical Director Name:
CLIA Laboratory and/or Medical Director Email:
Laboratory Name:
DEX Z-Code™ Identifier:
Test Name:
QUESTION |  | RESPONSE
General Test Information | Describe the clinical indications for testing (list the cancer type(s) indicated for the use of this test):
Where will this test be performed and will this test be performed in multiple locations?
Is this test utilizing an FDA-approved or cleared kit? (Yes/No)
Regardless of FDA-approval status, provide the name(s) of the kit and vendor used for assay and sequencing:
Preanalytical Questions | What are the specimen types accepted for testing?
Describe the orthogonal methods used for confirmation of the clinical validation; please include details about location of comparator:
What is the assay methodology?
Analytical Questions | Describe the library quality criteria for reporting:
Describe variant quality criteria for reporting:
What is the mean depth of coverage across the validation samples:
What is your minimum accepted mean depth of coverage for a clinical sample:
Describe any non-NGS methodologies used to cover complex regions:
How do you ensure specimen integrity/ minimize contamination?
How are controls utilized in this test?
Post-Analytical Questions | Who reviews and signs out these test results?
How do you handle amended and corrected reports?
How do you handle negative or QNS reports?

## AV & CV Summary
Analytical Validity, Clinical Validation Summary Worksheet, NGS Solid Tumors (NGS-PF-004-v7)
Instructions: Please complete the following tables and answer the following questions as appropriate. Indicate "N/A" when not applicable.
1 - Tumor Sample Types Tested in Clinical Validation Please note: only clinical samples are to be used in proceeding Tables 2 and 3.
Add as many rows needed to include all samples tested.
| Tumor Diagnosis/Type | Number of Samples Tested
Lung
Colorectal
Breast
Melanoma
Ovarian/ GYN
Brain
Prostate
Sarcoma
Thyroid
Bladder
*Contrived
*Reference Material
Total clinical samples in validation
Total samples in validation
*Contrived and reference material are not considered "clinical" and do not contribute to the assessment of the clinical validation.
2 - Clinical Validation Test Performance Table
Calculations for the table below must be based on individual laboratory validation data, not manufacturer advertised specifications. Please use data from clinical samples listed in Table 1.
| Variant Type1 | Variant Allele Frequency Range (%) | Minimum Tumor Cellularity (%) | Validated Sensitivity (%) | Validated Specificity (%)
SNVs
Indels ≤40bp
Indels >40bp
CNAs
CNAs (Gain/Loss)
SVs
SSVs
MSI
TMB
1 Types = Single Nucleotide variant (SNV), Insertion/Deletion (INDELs), Copy Number Alteration (CNA), Structural Variant (SV), Splice-Site Variant (SSV), Microsatellite Instability (MSI), Tumor Mutational Burden (TMB)
3 - Required Variants
Complete the table below.
Note: Genes/variants are ONLY required for tests where the tumor type listed is included in the intended use of the test. Please see column 10 for corresponding malignancy indication. Gaps can still result in coverage, but only for validated components.
| Variant Type (SNVs and Indels Only) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Gene | Required position(s) covered | Position covered by assay? (Y/N) | Unique Samples tested | Samples with Specified Variant Expected | Samples with Specified Variant Detected | Concordant “Positive” Samples | Concordant “Negative” Samples | Sample-level PPA | Sample-level NPA | Malignancy Indication for Assay Variants
| BRAF | 1: V600E; 10: Melanoma, Colorectal, Lung, Sarcoma
| BRCA1 | 1: Full gene sequence; 10: Breast, Ovarian, Pancreatic, Prostate
| BRCA2 | 1: Full gene sequence; 10: Breast, Ovarian, Pancreatic, Prostate
| CTNNB1 | 10: CNS, Sarcoma
| EGFR | 1: G719A/C/S; 10: Lung
S768I
T790M
L858R
L861Q
exon 19 deletions
exon 20 insertions
| IDH1 | 1: R132; 10: CNS, Cholangiocarcinoma, Bone and Soft Tissue Neoplasms
| IDH2 | 1: R140, R172; 10: CNS, Cholangiocarcinoma, Bone and Soft Tissue Neoplasms
| KIT | 1: exon 9; 10: Melanoma, Sarcoma, GIST
exon 11
exon 13
exon 17
| KRAS | 1: codon 12; 10: Colorectal, Lung, Pancreatic
codon 13
codon 61
codon 146
| NRAS | 1: codon 12; 10: Colorectal, Melanoma
codon 13
codon 61
codon 146
| PDGFRA | 1: D842V; 10: Sarcoma, GIST
exon 12
exon 14
exon 18
| RET | 1: exon 10: 609, 611, 618, 620,; 10: Thyroid
exon 11: 630, 634
exon 13: 768, 790, 791
exon 14: 804, 805, 806
exon 15: 891, 904
| PIK3CA | 1: exon 7: C420R; 10: Breast
exon 9: E542K, E545A/D(1635G>T), Q546E/R
exon 20: H1047l, H1047R, H1047Y
| FGFR3 | 1: R248C, S249C; 10: Bladder
G370C
Y373C
| RNA Variants/Fusions/Translocations (where applicable) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Gene | Required position(s) covered | Position covered by assay? (Y/N) | Unique Samples tested | Samples with Specified Variant Expected | Samples with Specified Variant Detected | Concordant “Positive” Samples | Concordant “Negative” Samples | Sample-level PPA | Sample-level NPA | Malignancy Indication
| ALK | Y373C 1: fusion/translocation; Y373C 10: Solid Tumor
| COL1A1 | Y373C 1: fusion/translocation; Y373C 10: DFSP, Sarcoma
| CSF1 | Y373C 1: fusion/translocation; Y373C 10: Sarcoma
| EWSR1 | Y373C 1: fusion/translocation; Y373C 10: Bone, Sarcoma
| FGFR2 | Y373C 1: fusion/translocation; Y373C 10: Cholangiocarcinoma, Bladder
| FGFR3 | Y373C 1: fusion/translocation; Y373C 10: Bladder
| FUS | Y373C 1: fusion/translocation; Y373C 10: Bone, Sarcoma
| MET | Y373C 1: exon 14 SSV (skipping); Y373C 10: Lung
| NR4A3 | Y373C 1: fusion/translocation; Y373C 10: Sarcoma
| NTRK1 | Y373C 1: fusion/translocation; Y373C 10: Solid Tumor
| NTRK2 | Y373C 1: fusion/translocation; Y373C 10: Solid Tumor
| NTRK3 | Y373C 1: fusion/translocation; Y373C 10: Solid Tumor
| PAX3 | Y373C 1: fusion/translocation; Y373C 10: Sarcoma
| PAX7 | Y373C 1: fusion/translocation; Y373C 10: Sarcoma
| RET | Y373C 1: fusion/translocation; Y373C 10: Lung, Thyroid
| ROS1 | Y373C 1: fusion/translocation; Y373C 10: Lung
| SS18 | Y373C 1: fusion/translocation; Y373C 10: Sarcoma
| WWRT1 | Y373C 1: fusion/translocation; Y373C 10: Sarcoma
| YAP-1 | Y373C 1: fusion/translocation; Y373C 10: Sarcoma
| Additional Variants (CGP Only) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Gene | Type or Position(s)1 | Position covered by assay? (Y/N) | Unique Samples tested | Samples with Specified Variant Expected | Samples with Specified Variant Detected | Concordant “Positive” Samples | Concordant “Negative” Samples | Sample-level PPA | Sample-level NPA | Malignancy indication2
| APC | fusion/translocation 1: SNV or INDEL; Sarcoma 10: Colon, CNS, Sarcoma
| AR | fusion/translocation 1: SNV; Sarcoma 10: Prostate
| ATM | fusion/translocation 1: SNV; Sarcoma 10: Breast, Ovarian, Pancreatic, Prostate
| BARD1 | fusion/translocation 1: SNV or INDEL; Sarcoma 10: Prostate
| BRIP1 | fusion/translocation 1: SNV; Sarcoma 10: Breast, Ovarian
| CDK4 or MDM2 | fusion/translocation 1: AMP; Sarcoma 10: Sarcoma
| CDK12 | fusion/translocation 1: SNV or INDEL; Sarcoma 10: Prostate
| CDKN2A | fusion/translocation 1: SNV or INDEL; Sarcoma 10: Melanoma
| CHEK1 | fusion/translocation 1: SNV or INDEL; Sarcoma 10: Prostate
| CHEK2 | fusion/translocation 1: SNV; Sarcoma 10: Breast, Ovarian, Prostate
| COL1A1 | fusion/translocation 1: fusion/translocation; Sarcoma 10: DFSP, Sarcoma
| CSF1 | fusion/translocation 1: fusion/translocation; Sarcoma 10: Sarcoma
| ERBB2 | fusion/translocation 1: AMP; Sarcoma 10: GEJ, Gastric, Breast
exon 20 insertions
| EWSR1 | fusion/translocation 1: fusion/translocation; Sarcoma 10: Bone, Sarcoma
| FANCA | fusion/translocation 1: SNV or INDEL; Sarcoma 10: Prostate
| FUS | fusion/translocation 1: fusion/translocation; Sarcoma 10: Bone, Sarcoma
| MET | fusion/translocation 1: AMP; Sarcoma 10: Lung
| MLH1 | fusion/translocation 1: SNV or INDEL; Sarcoma 10: Cervical, Colon, Gastric, Bone, Ovarian, Pancreatic, Penile, Prostate, Rectal, Testicular, Uterine, Vulvar
| MSH2 | fusion/translocation 1: SNV or INDEL; Sarcoma 10: Cervical, Colon, Gastric, Bone, Ovarian, Pancreatic, Penile, Prostate, Rectal, Testicular, Uterine, Vulvar
| MSH6 | fusion/translocation 1: SNV or INDEL; Sarcoma 10: Cervical, Colon, Gastric, Bone, Ovarian, Pancreatic, Penile, Prostate, Rectal, Testicular, Uterine, Vulvar
| PALB2 | fusion/translocation 1: SNV or INDEL; Sarcoma 10: Breast, Ovarian, Pancreatic, Prostate
| PMS2 | fusion/translocation 1: SNV or INDEL; Sarcoma 10: Cervical, Colon, Gastric, Bone, Ovarian, Pancreatic, Penile, Prostate, Rectal, Testicular, Uterine, Vulvar
| RAD51B | fusion/translocation 1: SNV or INDEL; Sarcoma 10: Prostate
| RAD51C | fusion/translocation 1: SNV or INDEL; Sarcoma 10: Ovarian, Prostate
| RAD51D | fusion/translocation 1: SNV or INDEL; Sarcoma 10: Ovarian, Prostate
| RAD54L | fusion/translocation 1: SNV or INDEL; Sarcoma 10: Prostate
| TP53 | fusion/translocation 1: SNV or INDEL; Sarcoma 10: CNS, Breast, Ovarian
| VHL | fusion/translocation 1: SNV or INDEL; Sarcoma 10: CNS
1 Abbreviations - AMP = amplification, MSI = microsatellite instability, SNV = single nucleotide variant
2 Abreviations - GEJ = gastro-esophageal junction, CNS = central nervous system, DFSP = dermatofibrosarcoma protuberans

## Sample-Level Data
Analytical Validity, Clinical Validation Summary Worksheet, NGS Solid Tumors (NGS-PF-004-v7)
CLINICAL Sample Level Data (By Sample)
Instructions: Complete the table below with sample level data from validation for reportable variants. The information below is provided as an example - delete before entering your data. For items that are not applicable, enter 'N/A.' Add rows and columns as need.
NOTE: This table outlines the information required for each sample. If this information is clearly available in your existing validation documents, you may refer to those specific documents/page numbers in lieu of completing this table.
|  |  |  | EXPECTED RESULTS | [5 empty] | OBSERVED RESULTS
| SAMPLE IDENTIFIER | SAMPLE TYPE | CANCER TYPE/ INDICATION (i.e. NSCLC, Colorectal, Breast, etc.), IF KNOWN | VARIANT CLASS1 | GENE | VARIANT (c./p.) | % Variant Allele Frequency (VAF) | VARIANT CLASSIFICATION | Methodology | % Variant Allele Frequency (VAF) | Results Agree ? Y/N (Exclusive of differing %VAFs) | Methodology | Explanation of Discordance (if applicable) | Comments
| 1 | FFPE | Melanoma | SNV | BRAF | c. 1799 T>A / p.Val600 Glu (V600E) | 20% | Pathogenic | NGS | 20% | Y | NGS | N/A
1 Single Nucleotide variant (SNV), Insertion/Deletion (INDELs), Copy Number Variant (CNV), Structural Variant (SV), Splice-Site Variant (SSV)

## Change Log
Date | Version | Note
2022-11-02 | 7 | Added Test Information tab to consolidate all general and analytical test information
2022-11-02 | 7 | Added Data Attestation for CLIA laboratory/medical director
2022-11-02 | 7 | Removed BAP1, EIF1AX, PRAME as required genes for UV to SNVs and Indels Table in AV & CV Summary tab
2022-11-02 | 7 | Reorganized RNA Variants/Fusions/Translocations (where applicable) gene/variant combinations to CGP Summary Table to stand alone Table in AV & CV Summary tab
2022-11-02 | 7 | Added COL1A1, FGFR2, FGFR3, NTRK1, NTRK2 gene/variant combinations to RNA Variants/Fusions/Translocations Table in AV & CV Summary tab
2022-11-02 | 7 | Added BARD1, CDK12, CHEK1, EWSR1, FUS, RAD51B, RAD54L gene/variant combinations to Additional Variants (CGP Only) Table in AV & CV Summary Tab
2022-11-02 | 7 | Added malignancy indications to multiple variants
2022-11-02 | 7 | Added Sample-Level Data tab